## Slide 1
Homework 2:
Room with Air-Conditioning Vents
Created by Ansys ACE
Edited by Ansys Academic Development Team
Notes: The 25 PowerPoint Lecture Units For 2021
The Lecture Units developed for teaching in connection with Granta EduPack are listed at the end of this presentation.

## Slide 2: Problem Statement
Objective
Model the process of convective heat transfer rate of a room with two windows and a door
Understand the airflow inside the room
Estimate the outlet air temperature
Quantify the temperature of the room walls
Problem Description
Room dimensions :
Inlet vent dimensions :
Outlet vent :
Working fluid is air :
windows
door
Inlet
outlet
Inlet mass flowrate at
Outlet mass flowrate
The heat/thermal energy is transferred from the walls, windows and the door to the fluid inside the room and then exchanged with air circulating

## Slide 3: Air Velocity in the Room
Velocity of air at the inlet vent is relatively high compared to the rest of the room. This is evident from the overall blue colored region.
The cold air from the inlet vent impinges directly on the bottom wall, after which it circulates to the rest of the room. This impingement and circulation can be observed in the velocity vector plot below.
This air is induced out from the room through the outlet vent at the bottom of the back wall.
Velocity Vector at Midplane z = -3 m
Velocity Contour at Midplane z = -3 m

## Slide 4: Air Circulation in the Room
Air circulates inside the room creating local rotational flow regions called vortices.
There are no vortices near the back wall of the room because of the outlet vent location at the bottom of this wall.
Velocity Vector at Midplane, x = 2.25 m
Velocity Vector at Midplane, z = -3 m
Vortex Regions
z = -3 m
x = 2.25 m

## Slide 5: Temperature of the Room
Temperature distribution on the side walls, windows and the door show that heat transfer between warm walls and cool air inside is more effective closer to the floor where the walls are cooled to lower temperature
The room walls are warmer compare to the air inside which is indicated by the red color on the walls. This suggests heat is quickly rejected from warm walls by the circulating air and the inside of the room is maintained at a comfortable temperature.
Since the inlet vent is located at the center of the top wall, cool air is blowing directly into the center of the room. This keeps the central portion of the room relatively cooler compared to the other areas of the room.
Temperature contours on side walls, door and windows
Temperature contours at z = -3 & x = 2.25 m

## Slide 6: Summary
Analysis of heat transfer in an air conditioned room is carried out in this example.
It was seen that the circulation of air from the air conditioning is keeping the room at comfortable temperature.
The air circulation inside the room follows a local rotational and no vortices were formed because of the location of the outlet vent near the bottom.
A detailed explanation and problem setup in Fluent can be seen by following the link.

## Slide 7
Appendix
Room with Air-Conditioning Vents

## Slide 8: Steady Treatment of an Unsteady Problem
This problem is inherently unsteady, for which a ‘true’ steady-state solution does not exist.
After approximately 10,000 iterations, we see that the residuals as well as the monitors settle into an oscillatory behavior.
The pseudo-transient solution can be considered as a crude inaccurate transient solution, and its results can be used for a qualitative understanding of the flow as well as heat transfer.
For more accurate high-fidelity results, please use a fully transient simulation.
Average Air Temperature at Outlet Vent, K
Average Air Velocity at Outlet Vent, m/s

## Slide 9: Transient Solution to this Problem
Transient run was conducted on this problem and ~1500 s of real time was simulated.
Both temperature and velocity monitors show an oscillatory behavior confirming the problem is inherently unsteady. However, the amplitude of these oscillations are small.
The monitor values are very similar to those obtained from the steady-state pseudo-transient solution.
Average Air Temperature at Outlet Vent, K
Average Air Velocity at Outlet Vent, m/s
Flow Time, s
Flow Time, s